Safe Job Procedures

| Name of Job: Demolition | Development Date: March 30th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Crushing | Inhalation of hazardous materials | Lacerations | Noise |
| --- | --- | --- | --- |
|  |  |  | . |

Personal Protective Equipment (PPE) and Devices Recommended

| Eye protection | Hard hat | Steel toed boots | Respirator |
| --- | --- | --- | --- |
| Eye injuries | Hand protection | Safety vest |  |

What is a proper safe job procedure to follow?

- Do a thorough inspection of the site

- If possible, enter the building with supervisor to look for:

  - People

  - Appliances containing Freon

  - Hazardous substance, such as asbestos and lead paint

  - Tanks, wells, flammable or explosive material

- Ensure that all the proper permits have been obtained

- Ensure all utilities have been disconnected

- Notify property owner and adjoining property owners of time and date of demolition

- Demolitions to buildings adjoined to another building must be properly stabilized

- Barricade or fence the entire area to keep bystanders and traffic out of area

- Proceed with demolition

- Sort and haul away waste and rubble to appropriate facilities

- Clean up site as per local government regulations

- Remove barricades