Safe Job Procedures

| Name of Job: Installation of Trench Box | Development Date: March 30th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Asphyxiation | Loose grounding | Muscle strain | Fall injuries |
| --- | --- | --- | --- |
|  |  |  | . |

Personal Protective Equipment (PPE) and Devices Recommended

| Steel toed boots | Eye protection | Hand protection | Hard hat |
| --- | --- | --- | --- |
| Visibility vest | Hearing protection |  |  |

What is a proper safe job procedure to follow?

- Assign a spotter who will be in charge of signaling operator and guiding trench box in trench

- Check grounding to ensure it is stable

- Ensure trench box is properly rigged to the machine by a competent rigger

- Begin the lift when all workers are at a safe distance and spotter signals to position over trench

- Slowly and cautiously lift trench box and follow direction of the spotter to position over trench

- Lower trench box as per spotter, be sure to keep trench box level

- Once trench box is in place wait for direction as to when it is clear to back away from the trench

- Back away slowly