Sample General Safe Work Practice for Fall Protection

Potential Health and Safety Hazards

- Energy hazards; gravity and kinetic.

- Work practice hazards; failure to following established safe work practices and procedures.

Safe Work Practices

- Workers must complete a certified fall protection training program.

- Refer to the District’s Fall Protection Program for additional information.

- Fall prevention configurations are the preferred form of fall protection.

- Fall arrest configurations should only be used when fall prevention systems are not practical or as a back-up to fall prevention.

- At least 2 workers must be present when a restraint or arrest system is used

- Keep your free fall distance to a minimum.

- Attach the lanyard directly overhead, where practicable.

- Ensure that a fall arrest system is attached to a suitable anchorage point.

- Take into consideration obstructions that are below the work area.

- Ensure that barricades, warning tape and signs identify restricted areas.

- Fall protection equipment must comply with CSA and ANSI standards.

- Do not use defective equipment or components.

- Do not use a harness or lanyard that has arrested a fallen worker.

- Do not attach two lanyards together to make them longer.