Safe Work Practice

| Name of Job: Scaffolding | Development Date: February 21 th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Working at heights | Repetitive motion Strains | Risk of eye injury | Slips, trips and falls |
| --- | --- | --- | --- |
| Risk of injury from falling objects |  |  |  |

Personal Protective Equipment (PPE) and Devices Recommended

| Head protection | Eye Protection | Foot protection | Fall Arrest Equipment |
| --- | --- | --- | --- |
| Respirator Equipment | Skin Protection | Hearing Protection |  |

What are some good general safe work practices?

- DO ensure grounding on a firm and level base.

- DO maintain the established minimum clearances from all power lines.

- DO provide a safe access ladder.

- DO ensure scaffold has a platform perimeter guardrail.

- DO Anchor or tie a free standing scaffold according to legislation.

- DO NOT use a ladder sloped against the side of a scaffold at any time.

- DO utilize a toe board on all platforms.

- DO ensure tube and clamp modular construction is utilized. Wood construction is to be used only when absolutely necessary.

- DO ensure proper safe scaffold tags are installed.

- DO utilize a tag line when hoisting material.

- DO minimize tools, material and debris on the platform.

- DO ensure a hand line with a tool bag for tools is utilized.

- DO ensure that when working at 3m (10 ft.), fall protection system must be used.

- DO Follow scaffold safe work procedure step by step.