|  | 35 MacDonald Ave, Dartmouth, NS, B3B 1C6 Tel: 902 468 6696 Toll Free NS: 1 800 971 3888 Web: www.constructionsafetyns.ca |
| --- | --- |

SAFE WORK PRACTICE

| Name of Job: Opening And Guarding Manholes | Development Date: | Developed By: | Approved By: | Review Date: |
| --- | --- | --- | --- | --- |

Possible Hazards Present

| Slips, Trips, Falls | Environment | Cave -in | Contact with bacteria |
| --- | --- | --- | --- |
| Risk of eye injury from flying particles | Extreme temperatures when working outdoors. | . |  |

Personal Protective Equipment (PPE) and Devices Recommended

| Head protection | Eye Protection | Foot protection | Hearing Protection |
| --- | --- | --- | --- |
| Respirator Equipment | Skin Protection |  |  |

What are some good general safe work practices?

- DO ensure obstructions to traffic shall be guarded by adequate signs, barricades, lights, flares or flags.

- DO ensure a blow torch or other open flame is not utilized to melt ice around a manhole or vault cover.

- DO ensure covers are removed and replaced by means of approved hooks or hoists.

- DO Ensue forced ventilation is used for oxygen deficiency.

- DO ensure equipment is in good working conditions.

- DO ensure you are trained in the use of breathing air apparatus.

- DO before any work is done on a cable, it shall be identified by an approved method.