|  | 35 MacDonald Ave, Dartmouth, NS, B3B 1C6 Tel: 902 468 6696 Toll Free NS: 1 800 971 3888 Web: www.constructionsafetyns.ca |
| --- | --- |

SAFE WORK PRACTICE

| Name of Job: Use of Tiger Torches | Development Date: | Developed By: | Approved By: | Review Date |
| --- | --- | --- | --- | --- |

Possible Hazards Present

| Compressed gas | Inhalation of hazardous fumes or vapours | Burns | Fire/Explosion |
| --- | --- | --- | --- |
| Repetitive Motion /Strain |  |  |  |

Personal Protective Equipment (PPE) and Devices Recommended

| Flame retardant clothing | Fire extinguisher | Steel toed boots | Eye protection |
| --- | --- | --- | --- |
| Hand protection |  |  |  |

What are some general safe work practices?

- DO ensure that tiger torches are only to be used for preheating of piping, etc. prior to welding

- DO Ensure that when a torch is used, an adequate fire extinguisher must be present.

- DO NOT use Torches for heating of work areas or thawing of lines and equipment, etc., when not in use.

- DO ensure that the propane bottles are properly shut off.

- DO ensure fuel lines are to have regulators.

- DO ensure that Propane bottles shall be secured in an upright position.