Safe Work Practice Electrical System Lockout

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

Note:

What are some good general safe work practices?

- DO switch off all appropriate devices (MCC, Distribution Panel, Disconnect).

- DO lock and tag out Electrical Supply devices in the “OFF” position.

- DO test to be sure the equipment cannot be operated at the STOP-START switch.

- DO test to be sure electrical equipment is de-energized.

- DO ensure that after completion of task, padlocks are removed, and tags are destroyed