Safe Work Practice Equipment Activities Near Overhead Power Lines

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

Note:

What are some good general safe work practices?

- DO maintain minimum safe clearances.

- DO install warning devices and signs.

- DO install telescopic non-conductive posts and flagging across R.O.W. at the minimum allowable clearance as allowed by regulations for the line voltage.

- DO position signs or other devices to identify the “Danger Zone”.

- DO be conversant with allowable clearances.

- DO adhere to all site-specific requirements.

- DO beware of atmospheric conditions such as temperature, humidity and wind which may dictate more stringent safety procedures.