Safe Work Practice Excavating and Trenching

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

What are some good general safe work practices?

- DO ensure that prior to commencement of any excavation all underground and/or overhead lines have been identified, exposed and well-marked/flagged.

- DO ensure that traffic near roads or busy access ways is under control.

- DO use traffic controllers/flaggers.

- DO set up barricades.

- DO provide ladders in the immediate area for access/egress of trenches, excavations.

- DO ensure that here the cut back method is not possible, provide timber shoring, trench jacks, sheet piling, cage, or other approved method.