Safe Work Practice Planned Lifts and Suspended Loads

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

What are some good general safe work practices?

- DO ensure barricades and warning signs are in place.

- DO determine the weight of the load.

- DO determine the shape and the size of the load.

- DO determine the maximum height and final position of the load to be raised.

- DO determine the center of gravity of the load so proper length of slings can be determined.

- DO ensure that safety inspections are completed on equipment and rigging.

- DO ensure potential hazards are identified within the work area.

- DO communicate with all personnel involved of potential hazards.

- DO ensure clear communications with equipment operators are in place.

- DO ensure tag lines are used and constructed of non-conductive material.

- DO ensure atmospheric conditions are monitored such as temperature, humidity and wind may affect the operator.

- DO ensure you understand proper hand signals.

- DO establish load chart rating of crane.