Safe Work Practice Use of Portable Fire Extinguishers

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

- DO ensure you are fully trained in the operation and maintenance of fire extinguishers.

- DO check Cylinder.

- DO Inspect cartridge puncture cap.

- DO check the weight of the cartridge.

- DO check the action of puncture lever. With cartridge removed.

- DO check the hose and nozzle for obstruction.

- DO check the date of manufacture.

- DO check the level and condition of the powder.

- DO check fill-cap threads and gasket.

- DO attach visual seal.

- DO check the Pressure Gauge.