Safe Work Practice Working with Concrete/Cement

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures - bend, reach, lift |  |
| Forceful exertions - lifting |  |
| Repetitive movements |  |
| Vibration |  |
| Compression |  |
| Sharp points/edges - sharp materials |  |
| Pinch points - bin lids |  |
| Materials falling - bin lids |  |
| Surfaces causing falls - icy, snow in winter |  |
| Moving machinery |  |
| Chemicals |  |
| Biological pathogens - contact with waste |  |
| Electrical |  |
| Extreme heat/cold |  |
| Noise |  |
| Combustibles/flammables |  |
| Risk of falling |  |
| Other |  |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |

- DO NOT have prolonged contact with concrete, it can cause respiratory illness, burns, rashes and skin irritation.

- DO ensure appropriate PPE is used. Wet concrete can cause severe burns to the skin. If wet concrete gets on the skin it should be washed off completely as soon as contact occurs.

- DO become familiar with the Material Safety Data Sheet for the concrete/cement products you are using to ensure you know the proper personal protective equipment to use and what to do if exposure occurs.

- DO avoid breathing concrete dust by:

      - Avoiding dusty areas

      - Wetting down the work area to minimize dust

      - Wearing approved respiratory protection

      - Use HEPA vacuums to collect dust, don’t dry sweep.

      - Using wet cuts, rather than dry cuts.

      - Mix dry cement in well ventilated areas.

      - Work upwind from dust sources.

- permitted in the structure while any jacking operation is taking place.

- DO NOT Under any circumstances let any employee who is not essential to the jacking operation be permitted under a slab while it is being lifted.

- DO ensure that a limited access zone is established to ensure personnel are not at risk should supports or bracing fail.