Chemical Storage

- chemicals should be stored no higher than eye level and

- never on the top shelf of a storage unit.

- Do not overcrowd shelves.

- Each shelf should have an anti-roll lip.

- Avoid storing chemicals on the floor (even temporarily) or extending into traffic aisles.

- Store in a corrosive's cabinet, if available, or in compatible secondary containment.

- Bases should be segregated from acids, flammables, and reactive.

- Call the manufacturer directly for storage requirements and refer to applicable regulations.