| Drill Information |  |  |  |  |  |  |  | Date of Drill: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Facility/Jobsite: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility/Jobsite Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drill Start Time: | Time Occupants Vacated: |  |  |  |  |  |  |  |  | Elapsed Time: |  |  |  |  |  |
| Pre-Drill Assessment |  | Yes | No |  |  | N/A | Utilities |  |  |  | Yes |  | No |  | N/A |
| Evacuation routes posted |  |  |  |  |  |  | Electrical appliances turned off |  |  |  |  |  |  |  |  |
| Evacuation signs in good condition |  |  |  |  |  |  | Lights turned off |  |  |  |  |  |  |  |  |
| Exits clearly marked |  |  |  |  |  |  | HVAC units were shut down |  |  |  |  |  |  |  |  |
| Exit signs properly illuminated |  |  |  |  |  |  | Plan |  |  |  | Yes |  | No |  | N/A |
| Exit doors operating properly |  |  |  |  |  |  | Evacuation performed according to plan |  |  |  |  |  |  |  |  |
| Egress routes free of obstructions |  |  |  |  |  |  | Occupants met at muster point(s) |  |  |  |  |  |  |  |  |
| Egress routes properly lit |  |  |  |  |  |  | Muster point(s) located at safe distance from building |  |  |  |  |  |  |  |  |
| Communication |  | Yes | No |  |  | N/A | Fire warden(s) responded according to plan |  |  |  |  |  |  |  |  |
| Circle: Alarm Activation/PA System/Word of Mouth |  |  |  |  |  |  | Fire warden(s) carried out assigned duties |  |  |  |  |  |  |  |  |
| Drill preannounced |  |  |  |  |  |  | Fire department “mock” notified according to plan |  |  |  |  |  |  |  |  |
| Fire department present for drill |  |  |  |  |  |  | Fire Alarm Systems |  |  |  | Yes |  | No |  | N/A |
| Alarm monitoring company notified |  |  |  |  |  |  | Fire alarm clearly heard in all areas |  |  |  |  |  |  |  |  |
| Security notified |  |  |  |  |  |  | Monitoring company received alarm |  |  |  |  |  |  |  |  |
| Fire Containment |  | Yes |  |  | No |  | Electro-magnetic locks operated appropriately |  |  |  |  |  |  |  |  |
| Doors and windows closed |  |  |  |  |  |  | Public address system clearly heard in all areas |  |  |  |  |  |  |  |  |
| Rooms checked prior to closing doors |  |  |  |  |  |  | Elevators recalled to correct floor |  |  |  |  |  |  |  |  |
| Doors left unlocked |  |  |  |  |  |  | Additional Notes: |  |  |  |  |  |  |  |  |
| Fire extinguisher taken to location of fire |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Door hold-open devices operated appropriately |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Evacuation |  | Yes | No |  |  | N/A |  |  |  |  |  |  |  |  |  |
| All occupants participated and evacuated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Restrooms checked for occupants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Evacuation was orderly |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Visitors escorted and accounted for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special needs persons accommodated |  |  |  |  |  |  | Number of occupants evacuated |  |  |  | Staff |  |  | Visitors |  |
| Elevators were used during evacuation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall response of occupants (circle) |  |  |  | Satisfactory |  |  |  |  | Unsatisfactory |  |  |  |  |  |  |
| Noise level of evacuation (circle) |  |  |  | Satisfactory |  |  |  |  | Unsatisfactory |  |  |  |  |  |  |

FIRE AND EMERGENCY EVACUATION DRILL OBJECTIVES

- Evaluate the effectiveness of the occupants’ abilities to evacuate a building

- Evaluate the effectiveness and adequateness of the fire and life safety evacuation plan

- Evaluate occupants’ ability to recognize the fire/evacuation alarm

- Determine whether the occupant takes appropriate actions upon hearing/seeing the evacuation/fire alarm

- Determine that the occupant begins the evacuation process in an acceptable manner and/or per plan

- Evaluate the occupants’ ability to help visitors or individuals who are having trouble

- Evaluate the occupants’ ability to recognize and take appropriate actions when a means of egress is unsafe

- Ensure occupants report in at designated meeting places

RECORD KEEPING

At a minimum the following information is recommended to be collected during fire drills:

- Identity of the person conducting the drill

- Date and time of the drill

- Notification method used

- Staff members on duty and participating

- Number of occupants evacuated

- Special conditions simulated

- Problems encountered

- Time required to accomplish complete evacuation

DRILL TIMES

Drill may be held at unexpected times and under varying conditions to simulate the unusual conditions that occur in case of fire.