NATURAL GAS EMERGENCY PROCEDURE

If you ever smell natural gas (like a skunk or rotten eggs)

DO NOT TOUCH ANYTHING!

Evacuate the building immediately and contact Heritage Gas 1-866-313-3030.

Do NOT light any flames.

Do NOT turn on/off any lights.

Do NOT operate any electrical switches or appliances (fire alarm & walkie-talkies included).

Use an air horn as a warning for evacuation purposes.

Head for the nearest Muster Station – based on wind direction. If the wind is blowing across the building, towards the warehouses, head in the opposite direction, it is suggested to be approximately 200 feet from the building.

I