Safe Job Procedures

| Name of Job: Catch Basin Installation | Development Date: March 30th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Other workers and equipment | Equipment malfunction | Slips, trip & falls | Pinch points |
| --- | --- | --- | --- |
| Overhead wires |  |  | . |

Personal Protective Equipment (PPE) and Devices Recommended

| Steel toe boots | Safety vest | Gloves | Safety glasses |
| --- | --- | --- | --- |
| Hard hat |  |  |  |

What is a proper safe job procedure to follow?

- Appoint a spotter who will be in charge of signaling the operator

- Assess and barricade the lift area

- Position the machine according to the center of gravity of the load

- Use approved slings/chains of the proper size and length

- Have a competent rigger hook up the load

- Lift when spotter signals it is safe to do so and ensure the area is clear of personnel and other possible hazards

- Move slowly to landing area and gently lower

- Ensure load is stable on level ground before slackening slings/chains and unhooking