Safe Job Procedures

| Name of Job: Perimeter Fencing | Development Date: March 30th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Vehicle or property damage | Serious injury | Vehicular and foot traffic |  |
| --- | --- | --- | --- |
|  |  |  | . |

Personal Protective Equipment (PPE) and Devices Recommended

| Steel toed boots | Eye protection | Hand protection | Hard hat |
| --- | --- | --- | --- |
| Visibility vest |  |  |  |

What is a proper safe job procedure to follow?

- Inspect work area to determine the type and size of fencing to use (barricades, tape, snow fence, etc.)

- Take into consideration traffic control and work equipment travel patterns

- Erect perimeter fencing according to local regulations

- Proper signage is to be posted on fencing on each side of the fence

- The sign must include reasons for fencing, company name and contact number, name and contact number of supervisor

- Check fencing, at minimum, daily to ensure it hasn’t been removed or damaged

- Fencing and signage to be removed immediately upon completion of work