Safe Job Procedures

| Name of Job: Pumping Water | Development Date: March 30th, 2011 | Developed By: CSNS |
| --- | --- | --- |

Possible Hazards Present

| Slips, trips and falls | Tool damage |  |  |
| --- | --- | --- | --- |
|  |  |  | . |

Personal Protective Equipment (PPE) and Devices Recommended

| Steel toed boots | Hand protection | Eye protection |  |
| --- | --- | --- | --- |

What is a proper safe job procedure to follow?

- Place pump on level ground

- String out hoses for discharge – make sure all bends and knots are out

- Connect hose to pump and attach suction – make sure the end of the hose is in deep water

- Service and prime the pump

- Use cold start procedure and run the pump (do not run the pump when it is empty)

- Check on pump periodically to ensure it is not plugged or running out of water

- After job is finished, roll up discharge hose, making sure it is completely empty

- Remove suction line and put all hoses on to truck – empty pump of water and load

- Make sure load is secure