Safe Job Procedure

Refueling						    					2024

- Engine Shutdown:

  - Ensure the engine of the vehicle or equipment being refueled is turned off before beginning the refueling process.

- Grounding and Bonding:

  - If refueling flammable liquids, ground both the vehicle or equipment and the fuel container to prevent static electricity buildup.

- Fuel Selection and Handling:

  - Use only approved fuel types and containers suitable for the vehicle or equipment specifications.

  - Handle fuel containers carefully to prevent spills, using spill containment measures if necessary.

- Control Spill Risks:

  - Use drip pans or absorbent materials to control and promptly clean up any spills that occur during refueling.

  - Report spills or leaks immediately to supervisors and environmental management.

- Monitoring:

  - During refueling, continuously monitor the process to ensure proper fuel flow and to detect any leaks or abnormalities.

- Emergency Shutdown Procedure:

  - In the event of a spill, leak, or suspected equipment malfunction, immediately stop the refueling process and follow the emergency shutdown procedure.

  - Notify appropriate personnel and implement spill response procedures as needed.

#### Post-Refueling Procedure

- Equipment Inspection:

  - Inspect the refueled vehicle or equipment for leaks, ensure all fuel caps are securely fastened, and check for signs of fuel spillage.

  - Conduct a final check to verify that all equipment used for refueling is properly stored and secured.

- Waste Disposal:

  - Properly dispose of used absorbents, empty containers, or other waste materials according to environmental regulations and company procedures.

- Documentation:

  - Record refueling activities, including fuel quantities, any incidents or observations, and any corrective actions taken.

  - Maintain records of refueling equipment inspections, maintenance, and training sessions conducted.

- Training and Review:

  - Provide refueling procedure training to all personnel involved in refueling operations, including refuelers and operators.

  - Conduct regular reviews and audits of refueling procedures to ensure compliance with safety standards and identify opportunities for improvement.