Safe Job Procedure Natural Gas

| Department/Area: | Approved by: | Date Created: | Review/Revision Date: |
| --- | --- | --- | --- |
| insert text here |  |  |  |

| Potential Hazard | Risk level |
| --- | --- |
| Awkward/sustained postures | Medium |
| Forceful exertions | Low |
| Repetitive movements | Medium |
| Vibration | Medium |
| Compression | Medium |
| Sharp points/edges | Low |
| Pinch points – fingers caught | Low |
| Materials falling | Medium |
| Surfaces causing falls | Low |
| Moving machinery | Low |
| Fire | High |
| Noise | Medium |
| Combustibles/flammables | High |
| Other: Explosive | High |

| Risk control devices, personal protective equipment, and other safety considerations | Training/Reference info |
| --- | --- |
| - CSA approved footwear. - Lockout/Tagout energy isolation - Multimeter tester, amp meter - Manufacturer's manual | - Part 11, Electrical Safety, Nova Scotia Occupational Health and Safety Regulation - Par 6 Lock out Tag out Nova Scotia Occupational Health and Safety Regulation. - The Electricians' License Act - The Nova Scotia Electrical Code - NPFA 70E Standard for Electrical Safety in the Workplace - CSA Z462 Workplace Electrical Safety - CSA Z460-05 Control of Hazardous Energy- Lockout and Other Methods |

NATURAL GAS EMERGENCY PROCEDURE:

- If you ever smell natural gas (like a skunk or rotten eggs – please see pamphlets)

- DO NOT TOUCH ANYTHING!

- Evacuate the building immediately and contact Heritage Gas 1-866-313-3030.

- Do NOT light any flames.

- Do NOT turn on/off any lights.

- Do NOT operate any electrical switches or appliances (fire alarm & walkie talkies included).

- Use an air horn as a warning for evacuation purposes.

- Head for the nearest Muster Station – based on wind direction. If the wind is blowing across the building, towards the warehouses, head in the opposite direction, it is suggested to be approximately 200 feet from the building.

- The emergency shut off valve is located above the meter on the right-hand side (if you are facing the meter). You will need a wrench to turn the valve. Turn clockwise to shut off (towards the building); turn counterclockwise to turn back on (towards the street). The one that is closest to the ground, on the left-hand side, is for Heritage Gas and 911 ONLY!

- There are two toolboxes that include a wrench, an Air horn, the emergency contact information and a scratch and sniff pamphlet. One is in the Product Services area, and the other is at the Administration Assistants desk.

- If there is an emergency, the Product Services Administrator, will be in charge of turning off the natural gas. In a situation where Product Services Administrator is not in the office, please see the Administration Assistant for instructions.